Preventive Maintenance

Purpose:  To reduce the risk of contamination resulting from improper use/repair of equipment and/or the facility.

Scope:  This procedure applies to all employees and contractors involved in the repair/maintenance of equipment and the facility.

INSTRUCTIONS/PROCEDURES:

- Train all employees on the preventive maintenance program annually.

- Follow Island County Food Code requirements.

- Follow all manufacturer recommendations for use of equipment.

- All repair/maintenance activities must be completed in a manner to prevents contamination (biological, physical, or chemical)

- Remove any open foods in or near equipment/area that is subject to repair/maintenance.

- Remove any food contact equipment/areas that are subject to contamination from the repair/maintenance.

- Monitor temperatures of TCS foods in cold holding equipment that is subject to repair/maintenance. If possible, move TCS foods to an alternate cold storage area until repair/maintenance is completed.

- Ensure that only food grade lubricants are used on equipment that may results in incidental contact with foods.

- Wash, rinse, and sanitize all food contact equipment/areas that are unable to be removed or that may have been subject to contamination from the repair/maintenance.

- Maintain a preventive maintenance log to document maintenance/repair requests and all repair/maintenance activities.

- Temporary repairs are prohibited (i.e. super glue, duct tape, screw taps, etc.)

- Utilize properly licensed contractors with the appropriate training or knowledge base to adequately complete repair/maintenance. Ensure the following:

Plumbing/Water Supply

- Follow all current plumbing code regulations.

- Follow all local jurisdictional requirements for plumbing and facility design.

- Ensure backflow prevention devices are tested annually.

- Ensure potable water is tested a minimum of twice annually if utilizing a non-municipal water supply.

- Ensure mixable hot and cold water mixable to 100oF is available at all sinks.

NOTE: The establishment may not operate without a potable water supply and/or in the event of a sewage/wastewater leak in food preparation or service areas. These are considered imminent health hazards and require immediate closure.

Fire Protection

- Follow all current fire code regulations.

- Follow all local jurisdictional requirements for fire suppression/control and facility design.

- Ensure fire suppression/control devices are tested annually.

Preventive Maintenance (continued)

Electrical

- Follow all current electrical code regulations.

- Follow all local jurisdictional requirements for electrical wiring and facility design.

Lighting

- Ensure all lighting in foodservice areas is properly shielded.

- Maintain the following intensity of lighting:

- 10 foot candles – in storage areas and during cleaning activities

- 20 foot candles – in food service areas

- 50 foot candles – in food preparation areas

Ventilation

- Follow all fire code, electrical code, and manufacturer regulations.

- Clean all ventilation systems according to manufacturer recommendations or at a frequency to prevent accumulation of dust, debris, or food residues.

- Clean vent hoods annually at a minimum.

Equipment

- Utilize NSF approved commercial grade equipment.

- Follow all manufacturer recommendations for repair/maintenance.

Thermometer Calibration

- Follow all manufacturer recommendations for repair/maintenance and calibration.

- Unless otherwise specified, calibrate thermometers using the ice point method:

- Place ice in a small container and fill with water to cover ice.

- Immerse the sensing area of thermometer in the ice water without touching the sides or bottom of the container.

- Adjust the thermometer setting so that it reads 32oF +/- 2oF

- Calibrate as often as necessary and record on the calibration log.

- Calibrate thermometers at a minimum of:

- Daily – for bimetallic stem thermometers

- Weekly – for thermistors and thermocouples

- Annually for NIST certified reference thermometers

NOTE: Significant facility design changes require submission on new plans and approval by Island County.

MONITORING:

- All employees will observe and document any maintenance/repair request and/or any facility issues on the preventive maintenance log.

- Thermometer calibrations will be document on the thermometer calibration log.

- The person in charge and/or other management staff will ensure maintenance/repair activities are completed in accordance with applicable guidelines.

Preventive Maintenance (continued)

CORRECTIVE ACTION:

- Discard any food contaminated because of maintenance/repair activities.

- Clean and sanitize any food contact surface contaminated because of maintenance/repair activities.

- The person in charge and/or other management staff will help coordinate and monitor activities of the contractor based on requests documented in the preventive maintenance log.

VERIFICATION AND RECORD KEEPING:

- Management staff will audit compliance monthly.